Imprinted Proteins as a Receptor in Fluorescent Sensing Microplate Assay for Herbicides Determination

Supplementary material

Kirill Yu. Presnyakov1, Ivan S. Matlakhov1, Ivan A. Reshetnik1, Polina M. Ilicheva1, Daria V. Tsyupka1, 
Daria G. Koganova1, Svetlana A. Mescheryakova1, Tatyana Yu. Rusanova1, Mikhail V. Pozharov1, 
Daniil D. Drozd1, Pavel S. Pidenko1, Irina Yu. Goryacheva1, Natalia A. Burmistrova1*

1—Institute of Chemistry, Saratov State University, Astrakhanskaya Street 83, Saratov, 410012, Russia. 
*—Corresponding author, e-mail address: naburmistrova@mail.ru

List of Tables

Table S1: Maximum permissible levels of imazamox in cereal plants in different countries	ii

Table S2: Molecularly imprinted polymers selective to herbicides	iii

Table S3: Influence of assay conditions to imazamox recovery rate (%) at IPs modified microplate surface	iv

List of Figures

Figure S1: Imazamox structure	v

Figure S2: Complex protein–imazamox at pH 3.0	vi

Figure S3: Influence of free amino acids in soil for fluorescence of QDs with and without IPs modification of microplate	vii

Table S1: Maximum permissible levels of imazamox in cereal plants in different countries

| Country | Culture | Concentration limit | Ref. |
| --- | --- | --- | --- |
| Russia | Sunflower seeds | 0.004 mg m−3 | 1 |
| USA | Wheat | 0.3 ppm | 2 |
| China | Wheat | 0.05 mg kg−1 | 3 |
| Australia | Barley | 0.02–0.04 mg kg−1 | 4 |
| EU | Sunflower seeds | 0.30 mg kg−1 | 5 |

1Federal Center for Hygiene and Epidemiology of Rospotrebnadzor. Guidelines for control methods. Collection. MUK 4.1.2665—10.

2Federal Register. Vol. 66, No. 248. Rules and Regulations 66773.

3National Food Safety Standard—Maximum Residue Limit of Pesticides in Foods (GB 2763–2021).

4Public release summary on “Evaluation of the new active imazamox in the products raptor herbicide & raptor wg herbicid". National Registration Authority for Agricultural and Veterinary Chemicals. NRA Refs: 50853 & 50854.

5Commission Regulation (EU) 2021/2202 of 9 December 2021.

Table S2: Molecularly imprinted polymers selective to herbicides

| Monomer / Cross-linked agent | Detectable substances | Substrate | LOD | Linear range | Recovery | Ref. |
| --- | --- | --- | --- | --- | --- | --- |
| 1–VN | Imazapyr | n/a | 0.09 μg L−1 | 0.29–200.0 μg L−1 | 86–107 % | 1 |
|  | Imazapic | = | 0.06 μg L−1 | 0.21–200.0 μg L−1 | = |  |
|  | Imazethapyr | = | 0.04 μg L−1 | 0.15–200.0 μg L−1 | = |  |
|  | = | fCBPE | 0.03 μmol L−1 | 0.10–70.00 μmol L−1 | 96.3–105.7 % | 2 |
| AA / TRIM | = | CPR | 15 ng g−1 | 0.1–5.0 μg mL−1 | 91.1–97.5 % | 3 |
|  | = | Fe3O4@SiO2 | 2.13 μg L−1 | 5–100 μg L−1 | 87.7–102 % | 4 |
| 4–VP / EGDMA | = | SPME fiber | 0.16 μg mL−1 | 0.50–50 μg mL−1 | 87.5–123 % | 5 |
|  | Imazameth | = | 0.16 μg mL−1 | = | 70.0–99.9 % |  |
|  | Imazamox | = | 0.070 μg mL−1 | = | 60.0–87.9 % |  |
|  | Imazapyr acid | = | 0.16 μg mL−1 | = | 63.1–87.0 % |  |
|  | Imazaquin acid | = | 0.29 μg mL−1 | 1.0–100 μg L−1 | 81.2–99.5 % |  |

All papers in the table used imazethapyr as a template.

List of acronyms: =—similar value, 1–VN—1-vinylimidazole, 4–VP—4-vinylpyridine, AA—acrylamide, 
CPR—chloromethylation polystyrene resin, EGDMA—ethylene glycol dimethacrylate, fCBPE—functionalized carbon black paste electrode, LOD—limit of detection, MA—methacrylic acid, SPME—solid phase microextraction, 
TRIM—trimethylolpropane trimethacrylate.

1doi.org/10.1016/j.foodchem.2020.127345—Development of selective preconcentration/clean-up method for imidazolinone herbicides determination in natural water and rice samples by HPLC-PAD using an imazethapyr imprinted poly(vinylimidazole-TRIM).

2doi.org/10.1002/elan.202100360—Development of a Novel Molecularly Imprinted Polyvinylimidazole/Functionalized Carbon Black Nanocomposite-based Paste Electrode for Electrochemical Sensing of Imazethapyr in Rice Samples.

3doi.org/10.1155/2018/7535417—Preparation of Imazethapyr Surface Molecularly Imprinted Polymers for Its Selective Recognition of Imazethapyr in Soil Samples.

4doi.org/10.1039/d0ay02116d—Highly selective enrichment and direct determination of imazethapyr residues from milk using magnetic solid-phase extraction based on restricted-access molecularly imprinted polymers.

5doi.org/10.1002/jssc.201400960—Molecularly imprinted polymer as a novel solid-phase microextraction coating for the selective enrichment of trace imidazolinones in rice, peanut, and soil.

Table S3: Influence of assay conditions to imazamox recovery rate (%) at IPs modified microplate surface

|  |  | Recovery rate, % |  |
| --- | --- | --- | --- |
|  |  | BSA based IPs | GOx based IPs |
| IPs dilution (pH 8, blocking buffer 0.5 % wt. BSA) | 10 | 31±7 | 14±8 |
|  | 20 | 64±6 | 38±4 |
|  | 40 | 89±3 | 70±5 |
|  | 80 | 96±12 | 86±10 |
|  | 120 | 93±14 | 92±15 |
| IPs immobilization pH (IPs 40, blocking buffer 0.5 % wt. BSA)* | 3.0 | 71±4 | nd |
|  | 7.4 | 82±2 | nd |
|  | 9.0 | 89±1 | nd |
| BSA content in blocking buffer, % wt (IPs 40, pH 9)** | 0 | 99±15 | nd |
|  | 0.1 | 91±2 | nd |
|  | 0.5 | 87±3 | nd |
|  | 1.0 | 80±2 | nd |

nd—Negative result,

*,**—The optimal condition for immobilization pH and blocking buffer were obtained for BSA-based IPs as a result in recovery rate at IPs dilution investigation

Figure S1: Imazamox structure

Figure S2: Complex protein–imazamox at pH 3.0

Figure S3: Influence of free amino acids in soil for fluorescence of QDs with and without IPs modification of microplate